[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X214  





                 
      Date: 10-Oct-2020 (FN)
M.Tech I-Year II-Semester External Examination, October - 2020 (Regular)
POWER QUALITY (EPE)
Time:
2 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.
	1.
	a)
	Explain in detail about the remedies to improve the power quality.
	[7M]

	
	b)
	Explain inter harmonics, notching and fluctuations.
	[7M]

	
	
	
	

	2.
	a)
	Give the brief overview about reliability to Power quality. 
	[7M]

	
	b)
	Write short notes on costs of interrupts.
	[7M]

	
	
	
	

	3.
	a)
	Discuss in detail about monitoring and diagnostic techniques for various power quality problems.
	[7M]

	
	b)
	Mention what are various monitoring considerations?
	[7M]

	
	
	
	

	4.
	a)
	Detail about phase angle jumps related to three phase unbalanced sags.
	[7M]

	
	b)
	How to mitigate voltage sags? Explain.
	[7M]

	
	
	
	

	5.
	
	Explain the following:                                 
	

	
	a)
	Harmonic sources from commercial loads 
	[7M]

	
	b)
	Harmonic sources from industrial loads
	[7M]

	
	
	
	

	6.
	a)
	Explain the necessity of power quality.
	[7M]

	
	b)
	Detail about the IEC EMC standards.
	[7M]

	
	
	
	

	7.
	a)
	What are the effects of Harmonics? How to eliminate harmonics? Explain.
	[7M]

	
	b)
	Clearly differentiate between failures, outages and interruptions.
	[7M]

	
	
	
	

	8.
	a)
	Explain about the short-duration voltage variations. 
	[7M]

	
	b)
	Compare short-duration voltage variations with long-duration voltage variations.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

