[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X216 





                 
      Date: 25-April-2022 (FN)
M.Tech I-Year I-Semester External Examination, April/May - 2022 (Regular/Supplementary)
RESTRUCTURING IN ELECTRICAL POWER SYSTEM (EPE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)
	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Discuss  the background of deregulation and the current situation around the world?
	L3
	CO1
	[7M]

	
	b)
	Explain Benefits of Competitive Electricity Market in detail.
	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	What is Unit Commitment? Explain different constraints in unit commitment?
	L3
	CO2
	[7M]

	
	b)
	Discuss the Characteristic Features of optimal power flow?
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Discuss the Operational Planning Activities of a Genco in India.
	L6
	CO3
	[7M]

	
	b)
	Discuss the Operational Planning Activities of ISO in Bilateral Market.
	L5
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain security management in deregulated environment.
	L3
	CO4
	[7M]

	
	b)
	Discuss Transmission Open Access and Pricing Mechanisms in Various Countries.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	What is Ancillary Service? Explain in details?
	L3
	CO5
	[7M]

	
	b)
	Discuss different methods of Reactive Power management in Deregulated Electricity Market.
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Describe different Network Model of reliability in power system.
	L4
	CO6
	[7M]

	
	b)
	Describe different performance indicator in reliability system.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	What are the disadvantages of deregulation power system?
	L2
	CO1
	[5M]

	
	b)
	What is necessity of power pool in economic load dispatch?
	L2
	CO2
	[5M]

	
	c)
	Explain different Market Participation Issues of deregulation.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain the incremental cost based transmission Pricing?
	L3
	CO4
	[5M]

	
	b)
	What are the Check-List of Ancillary Services Recognized by Various markets?
	L2
	CO5
	[5M]

	
	c)
	Explain   how Transmission Reliability analysis done.
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

