[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X213 





                 
      Date: 11-May-2022 (FN)
M.Tech I-Year II-Semester External Examination, April/May - 2022 (Supplementary)
FLEXIBLE AC TRANSMISSION SYSTEMS (EPE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What is the need of transmission interconnection for a given power system?
	L1
	CO1
	[7M]

	
	b)
	Explain the power flow control in an AC transmission system with necessary diagrams.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	With a neat schematic diagram, explain the operation of single-phase full wave bridge converter.
	L3
	CO2
	[7M]

	
	b)
	Discuss the basic concept of voltage sourced converter with circuit diagram.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain midpoint voltage regulation for line segmentation using shunt compensation.
	L2
	CO3
	[7M]

	
	b)
	Emphasize features of thyristor controlled reactor.
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Draw and explain the impedance versus delay angle characteristics of TCSC.
	L3
	CO4
	[7M]

	
	b)
	Discuss improvement of transient stability using series compensation on transmission systems.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the concept of voltage and phase angle regulation.
	L2
	CO5
	[7M]

	
	b)
	Describe power flow control by using phase angle regulators.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Describe dependence of real and reactive power flow control in UPFC.
	L2
	CO6
	[7M]

	
	b)
	What is interline power flow controller? With a schematic diagram, explain its working. Also list its applications.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	List advantages and disadvantages of current source versus voltage source converters.
	L1
	CO1
	[7M]

	
	b)
	Discuss the operation of STATCOM with a neat diagram and characteristics.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	8.
	a)
	Explain the control schemes for GCSC and TCSC type series compensators.
	L2
	CO4
	[7M]

	
	b)
	Explain the capability of UPFC to control real and reactive power flow in transmission line. 
	L2
	CO6
	[7M]


-- 00 -- 00 –

H.T No





Regulations:


A19











PAGE  
Page 1 of 1

