[image: image2.wmf][image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X211 





                 
      Date: 28-April-2022 (FN)
M.Tech I-Year II-Semester External Examination, April/May - 2022 (Supplementary)
POWER SYSTEM STABILITY (EPE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe any two typical cases of voltage collapse incidents.
	L1
	CO1
	[7M]

	
	b)
	Differentiate voltage stability from rotor angle stability.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	
	Explain the Newton-Raphson method for load flow studies. Explain the bus mismatches and convergence criteria. Also explain the computations that are to be carried out for PV buses with reactive power limitations.
	L3
	CO2
	[14M]

	
	
	
	
	
	

	3.
	a)
	For the simple thevenin system shown in the below figure, find an expression for P=f(V). For unity power factor load, determine the maximum power and the voltage at maximum power (critical voltage). Normalise the variables based on the S.C. power, E2/X with:         p = PX/E2, q = QX/E2 & v = V/E.  

                   
[image: image1]

	L4
	CO3
	[7M]

	
	b)
	Write about analysis of voltage stability using QV-curves. Draw a family of QV-curves for various constant real power values.
	L5
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Briefly describe about “Exciter Model” used in power system transient stability studies.
	L2
	CO4
	[7M]

	
	b)
	Describe about the “Methods of Simulation” w.r.t power system stability studies.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	
	Draw a neat diagram of “generator connected through transmission line to infinite bus system” and explain the single-machine-to-infinite bus system model used in transient stability studies.
	L1
	CO5
	[14M]

	
	
	
	
	
	

	6.
	a)
	State the system parameters which affect transient stability. Explain the effect of these parameters on transient stability.
	L4
	CO6
	[7M]

	
	b)
	Explain the effects of “excitation and prime-mover control” with respect to system design for transient stability of power system.
	L5
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	List out few voltage instability incidents which lead to voltage collapse.
	L3
	CO1
	[5M]

	
	b)
	Describe what is transient voltage instability?
	L1
	CO2
	[5M]

	
	c)
	Draw the profile of critical receiving end voltage at different power factors for varying power angle.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Write about the “tie line oscillations” in a power system.         
	L1
	CO4
	[5M]

	
	b)
	Draw a suitable figure to include potential energy curve and phase plane trajectory to explain and illustrate transient instability.
	L4
	CO5
	[5M]

	
	c)
	List the advantages of series connected dynamic brake.
	L5
	CO6
	[4M]


-- 00 -- 00 –

H.T No





Regulations:


A19











PAGE  
Page 1 of 2

