[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7M208  





                 
      Date: 28-April-2022 (FN)
M.Tech I-Year II-Semester External Examination, April/May - 2022 (Supplementary)
STEAM ENGINEERING (TE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What are the functions of boiler accessories? Name the various accessories used on a boiler
	L3
	CO1
	[7M]

	
	b)
	What are boiler standards? Explain.
	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the design procedure for water line and steam line in a power plant
	L6
	CO2
	[7M]

	
	b)
	What are the different types of insulation materials used in power plants and enlist its applications?
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	What is film wise condensation and dropwise condensation? 
	L2
	CO3
	[7M]

	
	b)
	Explain what is flash steam recovery?
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	List the different types of heat losses occurs in a boiler.
	L3
	CO4
	[7M]

	
	b)
	What is ash softening temperature? What is its effect on boiler performance?
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the principle of economic scheduling.
	L3
	CO5
	[7M]

	
	b)
	What do you understand by depreciation? How is the depreciation rate determined for a power plant?
	L5
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain about thermocouple and RTD.
	L3
	CO6
	[7M]

	
	b)
	Write a short note on pressure measuring equipment’s.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain about combustion process in steam boilers. 
	L2
	CO1
	[5M]

	
	b)
	Explain what is economic thickness of insulation?
	L3
	CO2
	[5M]

	
	c)
	What are the precautions to be taken while steam pressure is reduced for a process?
	L5
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	What is the effect of boiler loading on boiler efficiency?
	L3
	CO4
	[5M]

	
	b)
	Explain various waste minimization methods in power plants.
	L4
	CO5
	[5M]

	
	c)
	Write a short note on flow measurement devices.
	L3
	CO6
	[4M]


-- 00 -- 00 –

H.T No





Regulations:


A19











PAGE  
Page 1 of 1

