[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:7X112  





                 
      Date: 10-July-2021 (FN)
M.Tech I-Year I-Semester External Examination, July - 2021 (Regular & Supplementary)
ADVANCED POWER SYSTEMS OPERATION AND CONTROL (EPE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain Lambda-iteration method of solution by block diagram for all-thermal dispatching problem-neglecting losses.
	L2
	CO1
	[7M]

	
	b)
	Explain in detail base point and participation factors used in Economic load dispatch.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	With block diagram explain Economic dispatch with updated penalty factors.
	L2
	CO2
	[7M]

	
	b)
	Explain in detail the B matrix loss formula used in Economic load dispatch and draw related graphs associated with it.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Describe scheduling problems associated with Hydro thermal Co-ordination.
	L1
	CO3
	[7M]

	
	b)
	Describe short –term Hydro-scheduling using gradient approach. 
	L1
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Describe in detail Economic interchange between interconnected utilities.
	L1
	CO4
	[7M]

	
	b)
	Explain in detail Transmission Effects and Issues.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Describe factors affecting Power System Security.
	L2
	CO5
	[7M]

	
	b)
	Describe generation shift factors and line outage distribution factors used in Linear sensitivity factors with necessary derivation.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain in detail Maximum likelihood weighted least squares equation used in State Estimation.
	L1
	CO6
	[7M]

	
	b)
	Describe Orthogonal estimation method used in State Estimation.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Draw a flow chart for economic dispatch by Lambda iteration method.
	L2
	CO1
	[5M]

	
	b)
	Explain the term “Banking” with respect to unit Commitment.
	L3
	CO2
	[5M]

	
	c)
	Write briefly as  to how the hydro-electric system differ from thermal plants. 
	L1
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Describe about wheeling concept in interchange of power and energy.
	L1
	CO4
	[5M]

	
	b)
	How AC power flow methods are used for Power system security? Explain.
	L2
	CO5
	[5M]

	
	c)
	Explain Matrix formulation used in Maximum likelihood weighted Least –Squares estimation in Power systems.
	L1
	CO6
	[4M]


-- 00 -- 00 –

H.T No





Regulations:


A19











PAGE  
Page 1 of 1

