[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6X211





                 
      Date: 23-Sept-2022 (FN)
M.Tech I-Year II-Semester External Examination, Sept/Oct-2022 (Supplementary)
Power System Stability (EPE)
Time:
 2 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe the difficulties with reactive power transmission in detail.
	L3
	CO1
	[8M]

	
	b)
	With the help of neat single line diagrams, explain “Pure angle stability” problem and “Pure voltage stability” problem.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the concept and usage of voltage collapse proximity indicator. 
	L2
	CO2
	[8M]

	
	b)
	Explain how voltage stability is evaluated using Jacobian elements.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	From the power utility point of view, state the requirements and features of the “Protection Schemes” necessary to deal with the voltage stability related problems.
	L4
	CO3
	[8M]

	
	b)
	Explain the steps involved in the mechanism of voltage collapse by which it can be concluded that voltage collapse is a “slow” phenomenon.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the modelling of induction machine for steady state and transient stability studies with the help of equivalent circuit.
	L2
	CO4
	[8M]

	
	b)
	During voltage decay or voltage swing, voltage at a bulk power delivery high voltage bus drops from 1.05 pu to 0.9 pu. With no regulation, calculate the voltage at the utilization point assuming a reactance of 15% on the load base. (the reactance comprises of 10% bulk power delivery transformer reactance, 3% distribution transformer reactance, and 2% feeder reactance.) the voltage at the load, V is initially 1.0 pu. The 1.0 pu load is a motor with Pv=0 and Qv=2. Capacitive compensation is used to achieve 1.o pu voltage. Calculate the voltage at the load when the source voltage, E, drops to 0.9 pu.

[image: image1.emf]
 
	L5
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Describe equal-area criterion for stability in detail and draw a power angle curve to test stability.
	L3
	CO5
	[8M]

	
	b)
	Using the energy balance criteria, derive an expression for the swing equation of single machine to infinite bus system model to study transient stability behavior of the power system.
	L5
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	What are various discrete supplementary controls used and explain any one control in detail.
	L2
	CO6
	[8M]

	
	b)
	Explain how the discrete control of excitation systems is implemented.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain voltage security with the help of necessary diagram.
	L2
	CO1
	[8M]

	
	b)
	Discuss briefly about “power modulation of HVDC lines”.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	How can voltage stability margin be expressed? Explain.
	L3
	CO4
	[8M]

	
	b)
	List out and explain ways different to improve voltage stability.
	L1
	CO5
	[7M]


-- 00 -- 00 –

H.T No





Regulations:


A17











PAGE  
Page 1 of 2

