[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X121  





                 
      Date: 19-Sept-2022 (FN)
M.Tech I-Year II-Semester External Examination, Sept/Oct-2022 (Regular/Supplementary)
SMART ELECTRIC GRID (EPE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)
	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	List the advantages of building integrated Power systems.
	L1
	CO1
	[7M]

	
	b)
	Discuss the importance and need of Smart grid in present scenario.
	L1
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Why a smart grid is called as a “Green Grid”? Explain.
	L2
	CO2
	[7M]

	
	b)
	Describe the fundamental components of smart grid design.
	L1
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain computational techniques of smart grid.
	L2
	CO3
	[7M]

	
	b)
	Compare computational and computational intelligence techniques.
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	 What are plug in hybrid electrical vehicles? Explain its significance.
	L3
	CO4
	[7M]

	
	b)
	Analyze storage technologies.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	What is a Phasor Measurement Unit? How does it make the grid more reliable.
	L3
	CO5
	[7M]

	
	b)
	Compare communication infrastructure in conventional grid and smart grid.
	L3
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain Load Frequency Control in Micro Grid System.
	L3
	CO6
	[7M]

	
	b)
	Interpret the necessity of voltage control in Micro Grid.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Compare traditional power grid and smart grid.
	L3
	CO1
	[5M]

	
	b)
	Review the proposed architectures of smart grid.
	L2
	CO2
	[5M]

	
	c)
	Discuss evolutionary algorithms.
	L1
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain environmental impacts due to Distributed Generation.
	L3
	CO4
	[5M]

	
	b)
	What is phasor measurement in smart grid.
	L1
	CO5
	[5M]

	
	c)
	Explain the necessity of Load Frequency Control in Micro Grid System.
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

