[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:7M315  





                 
      Date: 22-Feb-2021 (FN)
M.Tech II-Year I-Semester External Examination, February - 2021 (Regular)
DESIGN OF SOLAR AND WIND SYSTEMS (TE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)
	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe percentage wise distribution of various components in extraterrestrial radiation.
	L2
	CO1
	[7M]

	
	b)
	Define solar irradiance, solar constant, extraterrestrial and terrestrial radiations. What is the standard value of solar constant?
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Describe the flat plate collector with the help of a suitable diagram.
	L3
	CO2
	[7M]

	
	b)
	What is the need of solar concentrators? Classify the solar concentrators.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	With a suitable sketch explain the solar distillation system.
	L2
	CO3
	[7M]

	
	b)
	Explain the different types of solar cookers. 
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the main features of different types of solar cells, based on the active material used in their fabrication.
	L3
	CO4
	[7M]

	
	b)
	Explain the I-V characteristics of a solar cell and define fill factor. What is the significance of fill factor?
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	What do you understand by upwind and downwind machines, yaw active and yaw fixed machines?
	L4
	CO5
	[7M]

	
	b)
	With a suitable sketch explain the working principle of Magneto Hydrodynamic Power generation.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the mechanical energy storage system.  What are the limitations of compressed air energy storage?
	L3
	CO6
	[7M]

	
	b)
	Differentiate between the sensible and latent heat storage system.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Define the terms: solar azimuth angle, latitude angle, declination angle, and hour angle.
	L2
	CO1
	[5M]

	
	b)
	Explain the importance of acceptance angle.
	L2
	CO2
	[5M]

	
	c)
	What is the basic difference between an active and passive solar heating system?
	L3
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain the performance parameters of silicon solar cell.
	L3
	CO4
	[5M]

	
	b)
	Classify wind turbines.
	L2
	CO5
	[5M]

	
	c)
	What are the most significant advantages of flow batteries?
	L4
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

