[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X112  





                 
      Date: 29-Jan-2020 (FN)
M.Tech I-Year I-Semester External Examination, Jan/Feb-2020 (Regular)
ADVANCED POWER SYSTEMS OPERATION AND CONTROL (EPE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:20
Answer all QUESTIONS.
	1.
	Explain in general the gradient search technique from mathematics.
	[2M]

	2.
	Describe about spinning reserve constraint with respect to unit commitment problem
	[2M]

	3.
	Write briefly as to how the hydro-electric systems differ from thermal plants.
	[2M]

	4.
	Write briefly about Diversity Interchange.
	[2M]

	5.
	Comment on the time taken for the contingency analysis.
	[2M]

	6.
	State and describe in one sentence, the most commonly used statistical methods or criterions for power system state estimation.
	[2M]

	7.
	Name the various techniques used to solve a unit commitment problem.
	[2M]

	8.
	Explain briefly about Energy Banking
	[2M]

	9.
	What are linear sensitivity factors and what are its uses?
	[2M]

	10.
	Write about the constraints involving the water storage volume in the reservoir of a hydro scheduling problem. 


	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Describe thermal system dispatching without network losses considered. Form the Lagrange equation and derive the necessary conditions for optimality.
	[5M]

	
	b)
	The fuel cost of the first, second & third units are 1.23, 1.14 & 1.02 Rs/Mbtu respectively. The input-output curve for units are as given below: 

H1 =  541  +  7.26  P1   +   0.00176  P12     Mbtu/hr      

H2 =  318  +  6.95  P2   +   0.00123  P22     Mbtu/hr    &

H3 =   60.3  +  7.14  P3   +   0.00466  P32     Mbtu/hr    

70MW ( P1 ( 542MW,   90MW ( P2 ( 658MW   &   40MW ( P3 ( 328MW. Find the economic dispatch solution for a load of 810MW. Also find the total minimum cost of meeting the load. 
	[5M]

	
	
	
	

	12.
	a)
	Starting from the Lagrange equation derive the expression for penalty factors. Discuss the conditions when the penalty factors are greater than one, less than one and equal to one. Write the coordination equations.
	[5M]

	
	b)
	The fuel cost of the first, second and third units are 1.26, 1.37 and 1.48 Rs/MBtu respectively. The input-output curve for units are as given below: 
H1 =  525.3  +  6.47  P1   +   0.00174  P12     MBtu/hr   

H2 =  327.8  +  7.56  P2   +   0.00159  P22     MBtu/hr    and
H3 =   98.7   +  8.86  P3   +   0.00485  P32     MBtu/hr   
125MW ( P1 ( 800MW,   175MW ( P2 ( 950MW   and   75MW ( P3 ( 650MW.  
For all unit combinations and a load dispatch of 600MW bring out a table containing the minimum and maximum generations, the power outputs of each unit, cost of generation for each unit and total cost of generation of all units put together.
	[5M]

	
	
	
	

	13.
	a)
	Formulate the short-term hydro-thermal scheduling problem with the help of a neat diagram by defining the various terms used. Derive the necessary conditions for optimality without network losses and with network losses considered.
	[5M]

	
	b)
	Explain long-range hydro-scheduling problem.
	[5M]

	
	
	
	

	14.
	a)
	Write in detail about various approaches involved in allocating pool savings among the pool members. Discuss regarding the computational procedures and provisions of the pool agreement with respect to allocating pool savings.   
	[5M]

	
	b)
	Explain in detail about “power pools” in an interconnected power system operating environment.
	[5M]

	
	
	
	

	15.
	a)
	Explain the concept of power system security. List the three major functions of the power system security system.
	[5M]

	
	b)
	Explain the function of contingency analysis with respect to power system security.
	[5M]

	
	
	
	

	16.
	a)
	Apply the principle of maximum likelihood concept and consider a simple DC circuit with current measurement. [The applied DC voltage to the circuit is ‘Xtrue’ volts, connected in series with an ammeter which measures the current as ‘z1meas’ and a resistor say ‘r1’]. Derive the equation for the estimated value of the voltage source, assuming that the ammeter has an error with a known standard deviation.
	[5M]

	
	b)
	Explain in detail how estimation of state variables can be carried out using simple three bus DC circuit having two generators and a load with appropriate figures.
	[5M]

	
	
	
	

	17.
	a)
	Write the iterative steps involved in solving the economic dispatch problem with network losses using loss formula method
	[4M]

	
	b)
	Draw a flow chart for gradient method based on relaxation technique for solving short-term hydro-scheduling problem 
	[3M]

	
	c)
	Define performance index and explain its role in power system contingency selection
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 2

