[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6M104





                     Date: 05-Feb-2020 (FN)
M.Tech I-Year I-Semester External Examination, Jan/Feb-2020 (Supplementary)
REFRIGERATION AND AIR CONDITIONING (TE)

Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Describe a simple vapour compression refrigeration cycle giving clearly its flow diagram.

	[3M]

	2.
	What is simple vapour absorption system? State how its efficiency can be improved?
	[3M]

	3.
	State merits and demerits of an air refrigeration system.

	[3M]

	4.
	Explain summer and winter air conditioning on psychometric chart.
	[3M]

	5.
	Explain the concepts of room sensible heat factor and grand sensible heat factor.
	[3M]

	6.
	What purpose is served by a fan in an air conditioning system? How fans are classified?

	[2M]

	7.
	What are the desirable properties of refrigerant?
	[2M]

	8.
	Describe with neat sketch the reduced ambient air refrigeration system.
	[2M]

	9.
	List the variables which are involved in the estimation of load.
	[2M]

	10.
	What are the advantages of compound compression with inter cooler over single stage compression
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Discuss why refrigerators are so selected that evaporator pressures and condenser pressures are greater than atmospheric pressure?
	[5M]

	
	b)
	In a 12 tones refrigeration ammonia plant, compression is carried out in two stages with water and flash intercooling  and water sub-cooling. Condenser pressure, evaporator pressure and flash intercooler pressure are 12 bar, 3 bar and 6 bar respectively. If the limiting temperature for intercooling and sub cooling is 200C, Determine the following : 



i) The coefficient of performance of the plant



ii) The power required for each compressor



iii) The swept volume for each if the volumetric efficiency of each of the 

     compressors is 82%.      
	[5M]

	
	
	
	

	12.
	a)
	Steam at 3 bar and 0.85 dry is used in the generator of vapour absorption system. The evaporator of the refrigerant system is maintained at -100C. The circulating cooling water rejects heat at 300C in condenser. 
Determine 

i) (COP)max for the system. 

ii) If steam leaves the generator as saturated liquid, determine consumption of 
    steam for 10 ton refrigeration plant. 
Assume relative COP as 0.4.
	[5M]

	
	b)
	Write a short note on LiBr-H2O absorption cycle.

	[5M]

	
	
	
	

	13.
	
	A simple air cooled system is used for an aero plane having load of 10 tones. The atmospheric pressure and temperature are 9 bar and 100 respectively. The pressure increases to 1.013 bar due to ramming. The temperature of the air reduced by 500C in the heat exchanger.  The pressure in the cabin is 1.01 bar and the temperature of air leaving the cabin is 250C . 
Determine 
i) power required to take load of cooling in the cabin         ii) C.O.P of the system.
	[10M]

	
	
	
	

	14.
	a)
	Atmospheric air having DBT=160 C and RH=25% is passed through a furnace and then through a humidifier to maintain a final DBT of 300 C and 50% R.H. 
i) Find the heat and moisture added to the air during the process. 
ii) Calculate the sensible heat factor of the process.
	[5M]

	
	b)
	Calculate the following when the DBT is 350 C, WBT is 230 C and the barometer reads 750mm Hg: 
i) Relative humidity 

ii) Humidity ratio 
iii) DPT 


iv) Density 

v) Enthalpy of atmospheric air
	[5M]

	
	
	
	

	15.
	
	The following data were collected in connection with the design of Air Conditioning a small theatre

Total seating capacity---350 persons

Atmospheric condition ------340C DBT and 70% R.H

Comfort condition required ------220C DBT and 50% R.H

Sensible heat given per person----------320 Kj/hr

Latent heat given per person ----------100 Kj/hr

Sensible heat due to solar gain and infiltrated air---------1,60,000 Kj/hr

Latent heat due to infiltrated air -----------------------------80,000 Kj/hr

Quantity of fresh air supplied -----------------0.4 m3/person/min

Desirable temperature rise in theatre-------------80C

Assume the recirculated air is mixed with the fresh air after leaving the conditioner. 
Using above data, compute the following 

i) the percentage of total air recirculated.   

ii) refrigeration capacity of the conditioner coil. 
Assume air leaves the conditioner coil with 100% R.H.
	[10M]

	
	
	
	

	16.
	a)
	Sketch and explain comfort air conditioning system.
	[5M]

	
	b)
	Mention and explain different types of air filters.
	[5M]

	
	
	
	

	17.
	a)
	Explain the effect of sub cooling and superheating on the performance of vapour compression refrigeration system.
	[4M]

	
	b)
	List the advantages and disadvantages of air refrigeration system.
	[3M]

	
	c)
	Define room sensible heat factor (RSHF) and grand sensible heat factor  (GSHF) and explain the process of drawing RSHF line on a psychometric chart when supplied air condition is not known.
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 2 of 2

