[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6M111 





                    
         Date: 10-Feb-2020 (FN)
M.Tech I-Year I-Semester External Examination, Jan/Feb-2020 (Supplementary)
THERMAL AND NUCLEAR POWER PLANTS (TE)

Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Classify the power plants. 








	[3M]

	2.
	Describe the function of feed water heater in a steam power plant. 



	[3M]

	3.
	Compare gas turbine plant with steam power plant. 





	[3M]

	4.
	What is neutron Life Cycle? Explain. 
	[3M]

	5.
	Explain the term “Incremental Heat Rate”. 
	[3M]

	6.
	Explain how ash is eliminated from the exhaust gases in thermal power plant?
	[2M]

	7.
	Explain the working principle of cooling of condensate water in a cooling tower. 

	[2M]

	8.
	Describe the principle of nuclear fission. 






	[2M]

	9.
	List the methods of combustion gas analysis. 
	[2M]

	10.
	Give the classification of nuclear reactors. 
	[2M]










Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	
	Sketch and explain the detailed layout of a modern coal-fired steam power plant.
	[10M]

	
	
	
	

	12.
	a)
	Describe the working of an air-preheater in the steam generating equipment. 
	[5M]

	
	b)
	Explain the principle of surface condenser. 





	[5M]

	
	
	
	

	13.
	a)
	Discuss the principle of Fluidised bed combustion. List its advantages and disadvantages. 
	[5M]

	
	b)
	What is a cogeneration plant? Describe its working and applications. 


	[5M]

	
	
	
	

	14.
	a)
	Describe the working of Boiling Water Reactor (BWR).
	[5M]

	
	b)
	Discuss the future of nuclear power in India.


	[5M]

	
	
	
	

	15.
	a)
	Describe the two methods of accumulating money for the depreciation of fund in power plants.
	[5M]

	
	b)
	Explain how the cost per kWh is estimated in power generating plants?
	[5M]

	
	
	
	

	16.
	a)
	Explain the flow measurement instrument used for measuring discharge of water in a pipe line.
	[5M]

	
	b)
	Describe the various pollution control methods employed in thermal power plants.
	[5M]

	
	
	
	

	17.
	a)
	Describe the working of a central flow surface steam condenser with a neat sketch.
	[5M]

	
	b)
	Explain the working of hydrogen Fuel Cell with the help of a diagram.
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

