[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7M103 





                 
      Date: 31-Jan-2020 (FN)
M.Tech I-Year I-Semester External Examination, Jan/Feb-2020 (Regular)
ENERGY CONSERVATION AND MANAGEMENT(TE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:20
Answer all QUESTIONS.
	1.
	What is the impact of energy utilization on ecology?
	[2M]

	2.
	What is “Energy Audit”? Explain briefly.
	[2M]

	3.
	What are the various tax considerations in a power plant operation?
	[2M]

	4.
	List and briefly describe various costing parameters in a power plant.
	[2M]

	5.
	What is need for energy conservation?
	[2M]

	6.
	List the various techniques of solar energy utilization.
	[2M]

	7.
	What are the functions of energy auditing services?
	[2M]

	8.
	What is replacement analysis?
	[2M]

	9.
	What is the potential for wind energy utilization in India?
	[2M]

	10.
	Define energy management.
	[2M]










Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	List and briefly describe various renewable energy sources.
	[5M]

	
	b)
	Summarize the basic principles of energy management.
	[5M]

	
	
	
	

	12.
	a)
	Illustrate the components of energy audit.
	[5M]

	
	b)
	Describe the details of data gathered while auditing residential, industrial and commercial units.
	[5M]

	
	
	
	

	13.
	a)
	Summarize and compare depreciation methods.
	[5M]

	
	b)
	Calculate the cost of power generation for a power station with following given data:

Installed capacity 200 MW

Capital cost = Rs 600 crores

Rate of interest and depreciation  = 10%

Annual cost of fuel, salaries and taxes = Rs 10 crores

Load factor = 50%
	[5M]

	
	
	
	

	14.
	a)
	List and briefly describe the investment evaluation methods. 
	[5M]

	
	b)
	Illustrate the Break-even chart with an example.
	[5M]

	
	
	
	

	15.
	a)
	Specify and illustrate the energy conservation techniques in lighting of buildings.
	[5M]

	
	b)
	Explain the design principles of Cogenerative system & analysis
	[5M]

	
	
	
	

	16.
	a)
	Distinguish between HATW and VATW.
	[5M]

	
	b)
	Describe the three important methods of storing solar thermal energy.
	[5M]

	
	
	
	

	17.
	a)
	What is BEE? Explain its star rating methodology.
	[4M]

	
	b)
	What are the pros and cons of common method of analysis in project evaluation?
	[3M]

	
	c)
	Write brief notes on conservation of energy materials.
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

