[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6X104    





                 
     Date: 30-Jan-2019 (FN)
M.Tech I-Year I-Semester End External Examination, Jan/Feb-2019 (Regular/Supplementary)
COMPUTER METHODS IN POWER SYSTEMS (EPE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What are the advantages of per unit system?
	[3M]

	2.
	In a graph if there are 4 nodes and 7 elements, then what is the number of links?
	[3M]

	3.
	Which is the best method for accurate load flow calculations on a large power system?
	[3M]

	4.
	A synchronous machine having E=1.2pu is supplying power to an infinite bus with voltage 1.0pu. If the transfer reactance is 0.6pu, find the steady state power limit.
	[3M]

	5.
	Why transient stability limit is lower than steady state stability limit.
	[3M]

	6.
	A control area has a total rated capacity of 10000MW and regulation ‘R’ for all the UNITs in the area is 2Hz /Pu Mw .One percent change in frequency causes one percent change in loop. If the system is operating at half the rated capacity and the load increased by 20%.Find static frequency drop
	[2M]

	7.
	What are the advantages of Ybus matrix over ZBus Matrix?
	[2M]

	8.
	Which quantities are specified at voltage controlled bus?

	[2M]

	9.
	Define Transfer reactance.






	[2M]

	10.
	Write the objective of finding fault levels at bus.



	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	For the power system network shown in figure use ground as a reference Bus. Define a tree and co-tree. Write the Bus-Branch incidence matrix and use it to obtain YBUS? Select arbitrary directions.
[image: image1.emf]

	[5M]

	
	b)
	Find the YBUS by direct inspection method for the network shown below:
[image: image2.emf]
	[5M]

	
	
	
	

	12.
	a)
	Derive the equations for total fault current in terms of symmetrical components for the three phase (not grounded) fault at bus P.


	[5M]

	
	b)
	Derive the analytical expression for currents and voltages of three-phase to ground fault.
	[5M]

	
	
	
	

	13.
	a)
	Explain the necessity of load flow solution.

	[3M]

	
	b)
	Write an algorithm for Newton Raphson load flow method by considering all types of buses.
	[7M]

	
	
	
	

	14.
	
	Explain about the Euler modified method?
	[10M]

	
	
	
	

	15.
	a)
	Explain what is “swing Curve”?  Explain its practical significance in stability analysis.

	[5M]

	
	b)
	Define transient stability and what are the methods of improving it?
	[5M]

	
	
	
	

	16.
	a)
	Explain the load frequency control of two area 



i) uncontrolled case

 ii) controlled case.

	[5M]

	
	b)
	Explain the steady state analysis of when [image: image4.png]AP.



  for a single area system.
	[5M]

	
	
	
	

	17.
	a)
	Define the following terms :

i. Steady state stability limit.

ii. Dynamic state stability limit.



iii. Transient state stability limit.

	[5M]

	
	b)
	List the assumptions made in the transient stability solution techniques.
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 2 of 2

