[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6X105   





                 
     Date: 28-Jan-2019 (FN)
M.Tech I-Year I-Semester End External Examination, Jan/Feb-2019 (Regular/Supplementary)
HIGH VOLTAGE DC TRANSMISSION (EPE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Define break even distance.
	[3M]

	2.
	What are the assumptions made in analyzing the 3-phase converter?                   
	[3M]

	3.
	What is the function of smoothing reactor?                                           


	[3M]

	4.
	Write the advantages of synchronous condensers as a source of reactive power.
	[3M]

	5.
	Give the classification of converter faults.






	[3M]

	6.
	Define Harmonic Distortion.








	[2M]

	7.
	What is individual phase control scheme?






	[2M]

	8.
	Write the equations governing the DC link.                                                              
	[2M]

	9.
	What are the faults that occur due to malfunctions of valves and controllers?        
	[2M]

	10.
	What is the effect of order of the harmonics on the amplitude of harmonics?

	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	What are the various types of HVDC links? Explain in detail.
	[5M]

	
	b)
	Explain various steps involved in transmission planning.
	[5M]

	
	
	
	

	12.
	a)
	Draw the equivalent circuit of converter and explain it.
	[5M]

	
	b)
	With a neat sketch explain the working of 12 pulse converter circuit.
	[5M]

	
	
	
	

	13.
	
	Explain the individual characteristics of rectifier and inverter operation with neat

sketches.
	[10M]

	
	
	
	

	14.
	a)
	Explain the causes of reactive power absorbed by HVDC converter substation.
	[5M]

	
	b)
	Explain about simultaneous method of load flow solutions?
	[5M]

	
	
	
	

	15.
	a)
	Discuss constructional difference of DC circuit breaker with AC circuit breaker
	[5M]

	
	b)
	What are the advantages of Multi-terminal DC links?
	[5M]

	
	
	
	

	16.
	a)
	State harmful effects of AC harmonics and DC harmonics?
	[5M]

	
	b)
	Discuss the design procedure of high pass filter.
	[5M]

	
	
	
	

	17.
	a)
	Explain the causes of over voltages and over currents in converter station.
	[5M]

	
	b)
	Draw the typical layout of HVDC transmission system and explain each part.
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

