[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6X216  




                 
     
       Date: 19-June-2019 (FN)
M.Tech I-Year II-Semester External Examination, June - 2019 (Regular)
Restructuring in Electrical Power Systems (epe)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What are the advantages of deregulation?                        



	[3M]

	2.
	Write a note on Pool and bilateral trade. 






	[3M]

	3.
	Explain the roles and responsibilities of Independent System Operators.  
	[3M]

	4.
	What are the methods available to tackle transmission Congestion?


	[3M]

	5.
	What is ancillary services and classify?






	[3M]

	6.
	What are the power systems performance indicators? 

             

	[2M]

	7.
	What is wholesale competition model? 






	[2M]

	8.
	State the purpose of available transfer capability (ATC).



	[2M]

	9.
	Describe Australia Ancillary Services Management (AASM).                     
	[2M]

	10.
	What are the advantages of postage stamp method?               
        
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	What are the various challenges before Indian Power Sector?
	[5M]

	
	b)
	Explain the key objectives of ‘Electricity Act 2003’ with reference to generation, transmission and distribution sector.
	[5M]

	
	
	
	

	12.
	a)
	Explain following economic terms of power sector.
(i) Fixed cost and variable cost. 
(ii) Interest and finance charges. 
(iii) Profitability indices.
	[6M]

	
	b)
	Explain avoided cost, marginal cost.
	[4M]

	
	
	
	

	13.
	a)
	What are the functions of Independent System Operators (ISO) and Load Dispatch Center (LDC)?
	[6M]

	
	b)
	Explain pool and bilateral trade models based on contractual arrangements.
	[4M]

	
	
	
	

	14.
	a)
	Explain the concepts of open access and transmission rights. 
	[5M]

	
	b)
	State the key features of Indian Grid code.                               
	[5M]

	
	
	
	

	15.
	a)
	Write a detailed notes on buying and selling ancillary services.
	[5M]

	
	b)
	Explain, how the Ancillary services procuring important consideration in the new environment  of the  Power system?
	[5M]

	
	
	
	

	16.
	a)
	Explain the concept of power system reliability analysis.                                
	[5M]

	
	b)
	Discuss clearly the Hierarchical Levels of Power System Functional Zones. 
	[5M]

	
	
	
	

	17.
	a)
	Explain in detail about spot pricing with suitable examples.                      
	[5M]

	
	b)
	Explain the role of transmission planning in vertically integrated utility?   
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

